## Slide 1: He-Integrity Test
A precise and safe way to prove the mechanical tightness of (H2 and/or natural gas) storage caverns
Dr. Amer ABDEL-HAQ
UGS GmbH

## Slide 2: What is MIT at all?
Mechanical Integrity Test is a test to ensure that there is “no” significant leak in the well and the mechanical components of the well function in a way that is protective of human health and the environment.
F
m
Sir Isaac Newton
Mechanics
Werner Heisenberg
Uncertainty Principles
3290error31874903

## Slide 3: History
N2
NaCl
Conventional MIT
2017
72h
3

## Slide 4: History and comparison
Innovative MIT
N2
NaCl
Conventional MIT
2017
72h

## Slide 5: Basics of pressure
F
F
A
A

## Slide 6: Basics of pressure
F
F
A
A

## Slide 7: Basics of pressure
F
F
A
A

## Slide 8: Diffusion
Diffusion is the net movement of molecules or atoms from a region of high
concentration to a region of low concentration as a result of random motion
of the molecules or atoms
Semi-infinite Body
[Relating to TAUTZ-1971-Leipzig]

## Slide 9: Convection
Convection is the movement caused within a fluid by the tendency of hotter and Therefore, less dense material to rise, and colder, denser material to sink under the influence of gravity, which consequently results in transfer of heat.
CFD - Computational Fluid Dynamics
Heat and Mass Transfer

## Slide 10: The solution
Convection Cell

## Slide 11: Convection
A
B
C
D
E
F
G
H

## Slide 12: Convection
Berlin Wall/ Berliner Mauer

## Slide 13: Convection
+30 min.
+20 min.
+15 min.
+20 min.
A
B
+15 min.
+20 min.
+30 min.
+20 min.

## Slide 14: Convection
2 h
92 h

## Slide 15: Analogy
A
B
∆U
A
B
∆P
E-systems
Fluid dynamics
Heat Transfer

## Slide 16: Application
New requirements of the Mining Authorities in DE and in EU
Rising of new H2-storages (caverns)
Converting natural gas caverns to H2-caverns
What is still required to complete
the new method?
Test on real caverns
Building the convection Barrier
Financing